## Sheet
Code | Template Name | Item Number | Name | Budget price | Quantity
1BR-SP-B | 1 Bed Room - CCU, 20m2 | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | CLFS-006 | CEILING: plasterboard, flush set, suspended, paint, washable | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | DWGL-033 | DOOR: 1400mm c/o, 1 1/2 leaf, observation panel, solid core/glass, paint | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | DWOB-003 | OBSERVATION: internal window, alum/glass, double glazed, integral venetian blind, powdercoat | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | DWPR-006 | DOOR PROTECTION: protection plate, to 900 AFFL, PVC, prefinished | 0 | 3
1BR-SP-B | 1 Bed Room - CCU, 20m2 | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 0 | 2
1BR-SP-B | 1 Bed Room - CCU, 20m2 | DWSC-003 | DOOR: 910mm c/o, single leaf, solid core, paint | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | DWWD-007 | BLIND: venetian, integral | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | DWWD-011 | CURTAIN: window, drapes | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | DWWH-005 | WINDOW | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ELBO-005 | EQUIPOTENTIAL JUNCTION BOX | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ELBO-015 | SWITCH: light, single | 0 | 4
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ELGP-101 | GPO: single, ceiling mounted | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ELGP-109 | GPO: single, wall mounted | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ELGP-109 | GPO: single, wall mounted | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ELGP-110 | GPO: single, wall mounted, cleaner | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ELGP-122 | GPO: emergency power, single, on services panel | 0 | 8
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ELGP-206 | GPO: double, on services panel, RCD protected | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ELPR-002 | CARDIAC PROTECTED ELECTRICAL AREA | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FIDI-014 | DISPENSER: disposable glove | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FIDI-025 | DISPENSER: paper/hand towel | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FIDI-030 | DISPENSER: soap | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FIDI-031 | DISPENSER: soap antiseptic | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FIHR-004 | BRACKET: for display screen, ceiling mounted | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FIHR-013 | BRACKET: for monitor, ECG | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FIHR-019 | BRACKET: for suction bottle | 0 | 2
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FIJO-130 | CUPBOARD: tall, single door, adj shelves and clothes rail | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FIJO-193 | SHELF: flowers | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FIRT-021 | TRACK: curtain, bedscreen | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FIRT-027 | TRACK: curtain, box pelmet | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 0 | 11
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FLVY-006 | FLOOR FINISH: vinyl, seamless, coved, non slip, textured | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FQBS-030 | CHAIR: visitor, patient | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FQCW-016 | BIN: waste, general, 20L | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FQGE-009 | CURTAIN: bed screen | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FQSN-051 | LOCKER: 2 drawers, open under, lockable, mobile | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | FQTA-013 | TABLE: overbed | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | HYBA-010 | BASIN: handwash, Type B | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | HYTP-037 | TAPWARE: mixer, elbow levers | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ITBU-012 | DISPLAY SCREEN: patient entertainment system | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ITCL-004 | BUTTON: nurse call, emergency | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ITCL-006 | BUTTON: nurse call, patient to staff | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ITCL-008 | BUTTON: nurse call, staff assist | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ITCL-028 | HANDSET: nurse call, with patient to staff call button | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ITIN-025 | OUTLET: data, double RJ45, on services panel | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ITIN-070 | OUTLET: MATV | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | ITNE-049 | TELEPHONE: handset, desktop | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | LIFX-011 | LIGHT: reading light | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | LIFX-017 | LIGHT: night light | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | MGAS-022 | OUTLET: medical air (MA), on services panel | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | MGAS-042 | OUTLET: oxygen (O2), on services panel | 0 | 2
1BR-SP-B | 1 Bed Room - CCU, 20m2 | MGAS-062 | OUTLET: suction, on services panel | 0 | 2
1BR-SP-B | 1 Bed Room - CCU, 20m2 | MGFP-002 | FLOWMETER: medical air | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | MGFP-004 | FLOWMETER: oxygen | 0 | 2
1BR-SP-B | 1 Bed Room - CCU, 20m2 | MMBE-010 | BED: patient, electric with mattress | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | MMGE-002 | ADAPTER: suction | 0 | 2
1BR-SP-B | 1 Bed Room - CCU, 20m2 | MMGE-019 | CHAIR: patient | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | MMGE-100 | SUCTION BOTTLE | 0 | 2
1BR-SP-B | 1 Bed Room - CCU, 20m2 | MMHA-005 | MONITOR: patient, cardiac | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | MMSP-026 | SERVICES PANEL: wall mounted | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | WLPR-002 | WALL PROTECTION: bed protection wall panel, composite, laminate finish | 0 | 1
1BR-SP-B | 1 Bed Room - CCU, 20m2 | WLPR-012 | WALL PROTECTION: corner guards, to 900 AFFL, prefinished PVC | 0 | 3
1BR-SP-B | 1 Bed Room - CCU, 20m2 | WLWA-004 | WALL FINISH: paint, acrylic, washable | 0 | 4
1BR-SP-B | 1 Bed Room - CCU, 20m2 | WLWA-010 | WALL FINISH: splashback, vinyl | 0 | 1