## Room Data
Standard Components - Room Data Sheet
Date of issue: 26.04.2021
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
AUD-CR | Audiology Control Room | 9 | 8am to 6pm, daily | 1 staff |  | Acoustic privacy is required | The Audiology Control Room may be provided adjacent to the Audiology Testing Room to support the administering of tests that require discrete observation, result verification by a second clinician and/or remote control of equipment. The room will require a workspace and visibility of the Testing Room via an observation window. Additional Consideration: The floor of the Control Room should be flush with the floor of the Treatment Room and the adjacent corridor for access by patients in wheelchairs. Portable equipment may be shared between the Control Room and the Treatment Room.

## Items
Standard Components - Items in room
Date of issue: 26.04.2021
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
AUD-CR | Audiology Control Room | FA | FLCP-006 | FLOOR FINISH: carpet, carpet tiles, 90/10 wool/nylon | 1
AUD-CR | Audiology Control Room | FA | FLSK-009 | SKIRTING: vinyl, feather edged, 150H, prefinished | 6
AUD-CR | Audiology Control Room | FA | DWPR-001 | DOOR PROTECTION: kickplate, to 300 AFFL | 2
AUD-CR | Audiology Control Room | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 4
AUD-CR | Audiology Control Room | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1
AUD-CR | Audiology Control Room | FA | DWGL-005 | DOOR: 910mm c/o, single leaf, observation panel, solid core/glass, paint | 2 | acoustic seals to suit testing requirements
AUD-CR | Audiology Control Room | FA | CLCN-009 | CORNICE: wall trim fixing | 1
AUD-CR | Audiology Control Room | FFE | FQBS-018 | CHAIR: office, ergonomic | 1
AUD-CR | Audiology Control Room | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1
AUD-CR | Audiology Control Room | FFE | FQCW-016 | BIN: waste, general, 20L | 1
AUD-CR | Audiology Control Room | FFE | FIDI-014 | DISPENSER: disposable glove | 1
AUD-CR | Audiology Control Room | FFE | FIDI-021 | DISPENSER: mask | 1
AUD-CR | Audiology Control Room | FFE | FQSM-007 | PEDESTAL: mobile, drawer unit, 660H | 1
AUD-CR | Audiology Control Room | FFE | MMAH-005 | BOOTH: audiometric | 1 | one way window (non-reflective); acoustic seals to suit testing requirements
AUD-CR | Audiology Control Room | FFE | ITNE-007 | COMPUTER: desktop, with display screen | 1 | optional
AUD-CR | Audiology Control Room | FFE | ITNE-049 | TELEPHONE: handset, desktop | 1
AUD-CR | Audiology Control Room | FFE | FQDW-031 | WORKSTATION: straight, adj height, 1650W x 750D x 750H nom. | 1
AUD-CR | Audiology Control Room | FFE | MMAH-036 | CONSOLE: control, audiometric booth | 1 | optional, dependent on service requirements
AUD-CR | Audiology Control Room | FFE | MMAH-042 | DEVICE: tympanometer | 1
AUD-CR | Audiology Control Room | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1
AUD-CR | Audiology Control Room | SE | ELPR-006 | RCD: residual current device | 1
AUD-CR | Audiology Control Room | SE | ELGP-208 | GPO: double, wall mounted | 3 | provision of emergency power to be determined based on service requirements
AUD-CR | Audiology Control Room | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1
AUD-CR | Audiology Control Room | SE | ELBO-012 | SWITCH: light, dimmer | 1
AUD-CR | Audiology Control Room | SE | MMSP-032 | SERVICES PANEL: instrument jack | 1 | optional