## Room Data
Standard Components - Room Data Sheet
Date of issue: 28.06.2021
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
BHW | Bay - Height/ Weight | 2 | Available 24 hours | 1 patient and 1 staff, intermittently |  | Sound attenuation level medium, Acoustic privacy is required. | An open bay for measuring and recording the height and weight of patients. Standing scales and a stadiometer are typically provided. Chair scales may be used here or may be stored here to be used elsewhere in the department as required. The type of scales and provision for bariatric patients will be dependent on service requirements. Additional Design Considerations: The bay should deep enough to ensure that equipment does not impede adjacent corridor circulation. Design and location of bay should allow for intermittent use without significant disruption to circulation in adjacent corridor. Grab rails for patient stability may be provided and may be either integral to the scales or wall mounted.

## Items
Standard Components - Items in room
Date of issue: 28.06.2021
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
BHW | Bay - Height/ Weight | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | coordinated with adjacent area
BHW | Bay - Height/ Weight | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 5 | coordinated with adjacent area
BHW | Bay - Height/ Weight | FA | WLPR-006 | WALL PROTECTION: corner guards | 2 | coordinated with adjacent wall protection
BHW | Bay - Height/ Weight | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 3
BHW | Bay - Height/ Weight | FA | WLWA-022 | WALL FINISH: vinyl, to 900 AFFL | 3 | height dependent on type and height of mobile equipment, crash rails are also acceptable
BHW | Bay - Height/ Weight | FA | CLTI-008 | CEILING: plasterboard, drop-in tiles, prefinished, 600 x 1200 | 1 | coordinated with adjacent area
BHW | Bay - Height/ Weight | FA | CLCN-009 | CORNICE: wall trim fixing | 1 | coordinated with adjacent area
BHW | Bay - Height/ Weight | FFE | MMGE-089 | SCALES: electronic, chair | 1 | optional, dependent on service requirements
BHW | Bay - Height/ Weight | FFE | MMGE-188 | SCALES: electronic, standing, with stadiometer | 1 | bariatric capacity will be dependent on service requirements; stadiometer may be separate wall mounted or floor standing item; scales may include integral grab rails for support
BHW | Bay - Height/ Weight | SE | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 1 | optional, dependent on equipment requirements
BHW | Bay - Height/ Weight | SE | ELGP-208 | GPO: double, wall mounted | 1