## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Single line edit) | (Single line edit) | (Single line edit) | (Single line edit)
ENS-SP | Ensuite - Super | 6 |  | 1 patient; 1-2 staff assisting | 24 Hours | Sound attenuation level high, Acoustic privacy is required. | An Ensuite - Super is for a patient to wash, shave, groom themselves, shower and use the toilet, either independently or with assistance. The Ensuite - Super is associated with the 1 Bed Room - Special; the additional area and layout will facilitate two assisting nurses, patient lifter and wheelchair access. The Ensuite - Super may vary in configuration to suit different patient types or room types including: - ENS-SP-A Ensuite Super, Inboard - ENS-SP-B Ensuite Super, Stand alone The actual choice of Ensuite will depend on the patient type, the Operational Policy and floor layout of the facility. Acoustics: Sound attenuation level - High. Acoustic privacy required. Body Protected Electrical Area Additional Design Requirements: - The shower floor must not have a raised hob - The entrance is to be flush with the adjoining flooring - The door is to be fitted with escape hardware

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No)
ENS-SP | Ensuite - Super | Fabrics | 1025 | Floor finish | 1 | Tiles also acceptable | Vinyl, non slip | Studded | Seamless, coved | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | Fabrics | 2000 | Skirting | 1 | or tiles for a tiled floor | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | Fabrics | 3070 | Wall finish | 1 | to wet areas; tiles also acceptable | Vinyl | Prefinished | Wall vinyl full height | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | Fabrics | 5023 | Ceiling - Plasterboard | 1 |  | Plasterboard | Prefinished | Water resistant, drop in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | Fabrics | 8010 | Door protection | 1 | Equal to Acrovyn | Composite | Prefinished PVC | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | Fabrics | 8040 | Door protection | 1 | Equal to Acrovyn | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | Fabrics | 9110 | Door - 1400mm | 1 | 1200mm clear opening, outward opening, privacy latch, emergency release | Solid Core | Paint | 1 1/2 leaf | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FE | FE-2850 | Basin - handwash, Type C (with vanity) | 1 |  |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
ENS-SP | Ensuite - Super | FE | FE-40406 | Tapware - shower mixer | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FE | FE-47400 | Shower - hand-held | 1 |  |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
ENS-SP | Ensuite - Super | FE | FE-55605 | Toilet suite - patient | 1 |  |  |  |  | No | No | Yes | No | Yes | No | Yes | No | No
ENS-SP | Ensuite - Super | FF | FF-13700 | Mirror | 1 | over basin |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-20650 | Soap / shampoo holder | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-2300 | Chair - shower | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-23700 | Towel rail | 2 | with grab rail strength and fixings |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-3400 | Coathook | 2 | 1 @ 1200 AFFL for wheelchair users |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-4800 | Curtain track - shower (90deg) | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-530 | Basin vanity top | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-5300 | Curtain - shower | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-5824 | Waste bin - general | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-6156 | Dispenser - soap | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-6160 | Dispenser - toilet paper | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-8400 | Grab rail - WC | 2 | 1 behind toilet, 1 to side |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-8450 | Grab rail - Shower | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | FF | FF-8500 | Grab rail - WC, hinged | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | SE | S-1951 | Staff assist call | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | SE | S-4033 | Floor waste | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | SE | S-5019 | Exhaust | 1 | for heat/ steam |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | SE | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | SE | S-6200 | Light switches | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | SE | S-8000 | Patient/ Staff call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | SE | S-8010 | Staff/ Nurse assist call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | SE | S-8080 | Emergency call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | SE | S-9001 | GPO: Double | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-SP | Ensuite - Super | SE | S-9040 | Body protected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No