## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | 15 |  | Up to 12 | Available 24 Hours | Sound attenuation level high, Acoustic privacy is required. | The Medium & Large Meeting Rooms will accommodate staff and other meetings. It is a multipurpose room also used for tutorials, staff meetings, training or educational purposes. The room may be located in close proximity to a Beverage Bay. Acoustics: Sound attenuation level high; Acoustic privacy required.

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FE | FE-41350 | Projection screen - ceiling, auto | 1 |  |  |  |  | Yes | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FE | FE-41400 | Projector | 1 | on table, optional |  |  |  | Yes | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FE | FE-54510 | Telephone - handset, standard | 1 | immediately outside room entry |  |  |  | No | Yes | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FF | FF-1050 | Bench - laminate | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FF | FF-1250 | Blind - Venetian | 1 | if window provided, 'grey-out' for audiovisual presentaions |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FF | FF-17360 | Pinboard - fabric covered | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FF | FF-2060 | Chair - meeting room | 12 | may be stackable |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FF | FF-23040 | Table - meeting | 2 | smaller tables may be located together |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FF | FF-24400 | Whiteboard | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FF | FF-3350 | Clock - battery operated | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FF | FF-4410 | Cupboard - under bench | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FF | FF-4468 | Cupboard - wall mounted | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FF | FF-44711 | Overbench single door lockable (600hx400wx350d) | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FF | FF-44716 | Overbench double door lockable (600hx800wx350d) | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | FF | FF-5824 | Waste bin - general | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | SE | S-9001 | GPO: Double | 2 | floor services box, optional |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | SE | S-9001 | GPO: Double | 3 | one above bench if provided |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | SE | S-9015 | GPO: Cleaner | 1 | as required |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | SE | S-1006 | Voice / Data outlet: double | 1 | floor services box, optional |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | SE | S-1006 | Voice / Data outlet: double | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | SE | S-1090 | TV: MATV | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | SE | S-1130 | Vetel: video-conferencing outlet | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | SE | S-1387 | Floor services box: flush mount | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | SE | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | SE | S-6200 | Light switches | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | SE | S-6110 | Downlights: dimmable | 1 | for audiovisual presentations |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | SE | S-10005 | Duress alarm | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | Fabrics | 1149 | Floor finish | 1 |  | Carpet | 90/10 Wool/ Nylon | Broadloom, 48 oz. | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | Fabrics | 8000 | Door protection | 1 |  | Vinyl | Prefinished | Kickplate, 300mm high | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | Fabrics | 9001 | Door - 1100mm | 1 | egress door, optional | Solid Core | Paint | Single leaf | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | Fabrics | 9004 | Door - 1100mm | 1 | 910mm clear opening, lockable | Solid Core/ Glass | Paint | Single leaf, observation panel | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | Fabrics | 7001 | Windows | 1 | desirable |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
MEET-L-15 | Meeting Room - Medium/Large, 15m2 | Fabrics | 2010 | Skirting | 1 |  | Vinyl | Prefinished | Feather edged, 150 mmH | No | No | No | No | No | No | No | No | No