## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | 30 |  | Up to 20 | Available 24 Hours | Sound attenuation level high, Acoustic privacy is required. | The Medium and large Meeting Rooms will accommodate staff and other meetings such as those held with the visiting Magistrate in Mental Health Units. It is a multipurpose room also used for staff meetings, training or educational purposes. The room may be located in close proximity to a Beverage Bay and an Equipment Bay. Acoustics: Sound attenuation level high; Acoustic privacy required.

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | Fabrics | 1130 | Floor finish | 1 | Slip resistant vinyl also acceptable. | Carpet | 90/10 Wool/ Nylon | Carpet tiles | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | Fabrics | 2010 | Skirting | 1 |  | Vinyl | Prefinished | Feather edged, 150 mmH | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | Fabrics | 2706 | Observation | 1 | Optional | Alum/ Glass | Powdercoat | Internal window with internal blinds | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | Fabrics | 2707 | Wall finish | 1 |  | Acoustic panels | Prefinished |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | Fabrics | 3000 | Wall finish | 1 | Decor for video-conferencing to be light/neutral, avoid white and pastel colours, free from patterning, avoid grey/blue-grey shades for optimal picutre quality. | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | Fabrics | 7001 | Windows | 1 | Desirable. If provided preferrably not on a wall in front of the camera. |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | Fabrics | 8010 | Door protection | 1 |  | Composite | Prefinished PVC | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | Fabrics | 8040 | Door protection | 1 | Optional. To be decided at project level. | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | Fabrics | 9001 | Door - 1100mm | 1 | Egress door, may also be required for magistrate's use in Mental Health units, optional. | Solid Core | Paint | Single leaf | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | Fabrics | 9004 | Door - 1100mm | 1 | 910mm clear opening, lock set | Solid Core/ Glass | Paint | Single leaf, observation panel | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FE | FE-11100 | Computer - laptop | 1 | Resident computer or laptop. |  |  |  | Yes | Yes | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FE | FE-54510 | Telephone - handset, standard | 1 |  |  |  |  | No | Yes | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FE | FE-6466 | Telephone - teleconference | 1 | Optional. |  |  |  | Yes | Yes | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FE | FE-7718 | Microphone - video-conferencing | 2 |  |  |  |  | Yes | Yes | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FE | FE-7719 | Monitor - LCD | 1 | Image projection and video-conferencing. Number and size of monitor/s to suit project specific requirements. Interface options to be confirmed at project level. Provide conduit for wiring from monitor/s to services floor box. |  |  |  | Yes | Yes | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FE | FE-7720 | Speakers - video-conferencing, wall mounted | 2 | Integral with video-conferencing system. |  |  |  | Yes | Yes | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FE | FE-7721 | Video-conferencing system | 1 | Optional, for Mental Health Review Hearings. Console, integral with camera, monitor, speakers and microphone. Configuration and Mental Health Review Board requirement to be confirmed at project level. |  |  |  | Yes | Yes | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FE | FE-7722 | Camera - video-conferencing | 1 | Mounted to monitor/s or wall mounted. |  |  |  | Yes | Yes | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FF | FF-1050 | Bench - laminate | 1 | optional. Length to suit layout, refer RLS or project specific requirements. |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FF | FF-12200 | Lectern | 1 | Optional, may incorporate switches, AV computer, power and data. May be more appropriate when two 30m2 meeting rooms are adjacent with an operable wall. |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FF | FF-17360 | Pinboard - fabric covered | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FF | FF-2060 | Chair - meeting room | 20 | May be stackable. Heavy duty for Review Hearings. |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FF | FF-23040 | Table - meeting | 8 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FF | FF-24405 | Whiteboard - magnetic | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FF | FF-3350 | Clock - battery operated | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FF | FF-4420 | Cupboard - under bench, lockable | 1 | adjustable shelf, optional. Number to suit layout, refer RLS or project specific requirements. Storage solution for consumables and equipment to meet project specific Infection Control and OHS requirements. |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FF | FF-5824 | Waste bin - general | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FF | FF-7513 | Bracket LCD monitor | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FF | FF-7514 | AV rack | 1 | Optional. May be required for Magistrate Hearings. Integral with video-conferencing system. Requirement to be confirmed at project level. |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | FF | FF-7516 | External window dressing, blackout | 1 | Number to align with window configuration, if provided. Window dressing type to comply with Infection Control policy. Blackout required for audiovisual presentations and video-conferencing. |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | SE | S-10005 | Duress alarm | 1 | Optional. Two (2) fixed buttons are required for Review Hearings in Mental Health units. Refer to AusHFG specific mental health HPU requirements. |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | SE | S-1006 | Voice / Data outlet: double | 1 | floor services box |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | SE | S-1006 | Voice / Data outlet: double | 3 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | SE | S-1007 | Voice / Data outlet: triple | 1 | On wall for video-conferencing unit (minimum requirement for VC is 1-triple outlet) |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | SE | S-1090 | TV: MATV | 1 | Optional. May be replaced with data outlet, in accordance with ICT policy. May be required for educational purposes, to be determined at project level. If required add television, bracket and dedicated power. |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | SE | S-1387 | Floor services box: flush mount | 1 | for data and power, optional |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | SE | S-2088 | Light switch: single | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | SE | S-6000 | General fluorescent | 1 | Lighting to achieve 600 lux to faces in view of the camera (may range from 540-750lux); refer to Special Requirements for additional comments. |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | SE | S-6110 | Downlights: dimmable | 1 | for audiovisual presentations |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | SE | S-8080 | Emergency call | 1 | + indicator button & light, optional. For patient group/education purposes only. |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | SE | S-9001 | GPO: Double | 2 | floor services box |  |  |  | No | No | No | No | No | No | No | No | No
MEET-L-30 | Meeting Room - Medium/Large, 30m2 | SE | S-9001 | GPO: Double | 7 | 1 above bench, if provided. Verify location of video-conferencing unit before installation. |  |  |  | No | No | No | No | No | No | No | No | No