## Room Data
Standard Components - Room Data Sheet
Date of issue: 18.01.2021
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
MOR-BR | Mortuary - Body Reception | 7 | up to 24 Hours | 1 - 2 staff intermittently |  |  | The Mortuary - Body Reception is an area for receiving bodies from the hospital and checking-in to the holding room/cool room as well as the checking-out of bodies for release to funeral directors, relatives or for transfer to the coroner. This room should be located on a corridor that is in close proximity to both the staff-only mortuary entry and the exit to the funeral director's covered parking area. Entry to this area by authorised personnel only. Handwashing facilities should be located in close proximity.

## Items
Standard Components - Items in room
Date of issue: 18.01.2021
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
MOR-BR | Mortuary - Body Reception | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1
MOR-BR | Mortuary - Body Reception | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 2
MOR-BR | Mortuary - Body Reception | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 2
MOR-BR | Mortuary - Body Reception | FA | CLTI-008 | CEILING: plasterboard, drop-in tiles, prefinished, 600 x 1200 | 1
MOR-BR | Mortuary - Body Reception | FA | CLCN-009 | CORNICE: wall trim fixing | 1
MOR-BR | Mortuary - Body Reception | FFE | FQBS-018 | CHAIR: office, ergonomic | 1
MOR-BR | Mortuary - Body Reception | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1
MOR-BR | Mortuary - Body Reception | FFE | FIDI-018 | DISPENSER: gown | 1
MOR-BR | Mortuary - Body Reception | FFE | FIDI-021 | DISPENSER: mask | 1
MOR-BR | Mortuary - Body Reception | FFE | FIJO-152 | CUPBOARD: wall mount, shelf unit, adj shelves | 2
MOR-BR | Mortuary - Body Reception | FFE | FIBM-019 | WHITEBOARD: fixed, magnetic | 1
MOR-BR | Mortuary - Body Reception | FFE | ITNE-007 | COMPUTER: desktop, with display screen | 1
MOR-BR | Mortuary - Body Reception | FFE | ITNE-023 | PRINTER: networked | 1
MOR-BR | Mortuary - Body Reception | FFE | ITNE-049 | TELEPHONE: handset, desktop | 1
MOR-BR | Mortuary - Body Reception | FFE | FIJO-212 | BULKHEAD: joinery | 1 | plasterboard bulkhead also acceptable
MOR-BR | Mortuary - Body Reception | FFE | FQDW-045 | DESK: adj height, 2400W x 750D x 750H nom. | 1 | length to accommodate A3 landscape mortuary register
MOR-BR | Mortuary - Body Reception | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 2 | 1 outlet for telephone
MOR-BR | Mortuary - Body Reception | SE | LIFX-008 | LIGHT: task light, built in | 2 | to underside of overhead cupboards
MOR-BR | Mortuary - Body Reception | SE | ELBO-015 | SWITCH: light, single | 1 | for task lighting
MOR-BR | Mortuary - Body Reception | SE | ELGP-208 | GPO: double, wall mounted | 3 | emergency power may be provided depending on operational policies and service requirements