## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
PACS | PACS Storage and Viewing | 16 | Available 24 Hours | Up to 4 |  | Sound attenuation level medium, Acoustic privacy is required. | A room located within the Medical Imaging Unit to accommodate the PACS computer equipment along with a workstation area for viewing, and reporting of images.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
PACS | PACS Storage and Viewing | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1 |  | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FA | DWGL-002 | DOOR: 910mm c/o, single leaf, half glazed, solid core/glass, paint | 1 | glazing optional | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FA | DWOB-010 | OBSERVATION: through door/s, glass, clear | 1 |  | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FA | DWPR-003 | DOOR PROTECTION: kickplate, to 300 AFFL, vinyl, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | SE | ELBO-015 | SWITCH: light, single | 3 |  | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | SE | ELGP-106 | GPO: single, special, for equipment | 1 | Server- PACS | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | SE | ELGP-208 | GPO: double, wall mounted | 9 | 2 per workstation + 1- printer | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FFE | FIBM-013 | NOTICEBOARD: fixed, fabric covered | 1 | above bench | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FFE | FIBM-018 | WHITEBOARD: fixed | 1 | 900x900, optional | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FFE | FIJO-030 | BENCH: 750D, open under | 2 | to 2 sides of room | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FFE | FIJO-152 | CUPBOARD: wall mount, shelf unit, adj shelves | 6 | over bench | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FA | FLCP-003 | FLOOR FINISH: carpet, broadloom, 48 oz., 90/10 wool/nylon | 1 | vinyl also acceptable | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FA | FLSK-009 | SKIRTING: vinyl, feather edged, 150H, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FFE | FQBS-018 | CHAIR: office, ergonomic | 4 |  | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FFE | FQCW-016 | BIN: waste, general, 20L | 2 |  | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FFE | FQGE-005 | CLOCK: analogue, battery operated | 1 |  | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FFE | FQSM-009 | PEDESTAL: mobile, filing unit, 660H | 2 | under bench | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1 | printer | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 4 | 1 outlet per workstation for telephone | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FFE | ITNE-009 | COMPUTER: hi performance, for clinical / PACS use | 2 | for computerised images | Yes | Yes | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FFE | ITNE-011 | COMPUTER: server | 1 | PACS | Yes | Yes | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FFE | ITNE-023 | PRINTER: networked | 1 |  | Yes | Yes | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FFE | ITNE-049 | TELEPHONE: handset, desktop | 4 |  | No | Yes | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | SE | LIFX-008 | LIGHT: task light, built in | 6 | under O/H shleving | No | No | No | No | No | No | No | No | No
PACS | PACS Storage and Viewing | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No