## Room Data
Standard Components - Room Data Sheet
Date of issue: 26.04.2021
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
PHA-CO | Pharmacy - Counter | 9 | 8am to 8pm, daily | 1-2 staff |  | Sound attenuation level - Medium; acoustic privacy required. | The Pharmacy - Counter provides a reception point for the Pharmacy Unit for patients and staff to drop off prescriptions to be filled and collect dispensed prescriptions. The Counter is to have good visibility of the waiting area and visitors as they approach. Additional Design Requirements: Information on prescribed medications will be provided to patients at the counter and a degree of privacy is required for these discussions. Interview rooms may be located nearby to provide more private information or counselling. Cash handling and EFTPOS facilities may be required in this space depending on operational models and the proximity of the Unit to the central hospital cashier. Security glazing will be required. The design must support clear communication between pharmacy staff and patients with communication slots. A hearing augmentation system may be considered. Small items will also need to be passed through and forms may need to be signed, the design of the glazing needs to support this function. The ability to lock down the Unit, e.g. in evenings when the pharmacy is closed, is required. This may be achieved by lockable doors from public corridors to the waiting area, however lockable shutters to the counter may be considered.

## Items
Standard Components - Items in room
Date of issue: 26.04.2021
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
PHA-CO | Pharmacy - Counter | FA | FLCP-006 | FLOOR FINISH: carpet, carpet tiles, 90/10 wool/nylon | 1 | vinyl is also acceptable
PHA-CO | Pharmacy - Counter | FA | FLSK-009 | SKIRTING: vinyl, feather edged, 150H, prefinished | 12 | seamless coved vinyl skirting if vinyl flooring provided
PHA-CO | Pharmacy - Counter | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 7
PHA-CO | Pharmacy - Counter | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1
PHA-CO | Pharmacy - Counter | FA | CLCN-009 | CORNICE: wall trim fixing | 1
PHA-CO | Pharmacy - Counter | FFE | FQSN-028 | CABINET: pass through | 1 | lockable, under bench, for transfer of large items
PHA-CO | Pharmacy - Counter | FFE | FQBS-019 | CHAIR: office, ergonomic, high | 1
PHA-CO | Pharmacy - Counter | FFE | FQBS-018 | CHAIR: office, ergonomic | 1
PHA-CO | Pharmacy - Counter | FFE | FIJO-135 | CUPBOARD: underbench, double door, adj shelves | 2
PHA-CO | Pharmacy - Counter | FFE | FQCW-016 | BIN: waste, general, 20L | 1 | quantity and type of bins to be based on local waste management policies
PHA-CO | Pharmacy - Counter | FFE | FIJO-114 | CUPBOARD: drawer unit, lockable | 1
PHA-CO | Pharmacy - Counter | FFE | ITNE-007 | COMPUTER: desktop, with display screen | 2
PHA-CO | Pharmacy - Counter | FFE | ITNE-023 | PRINTER: networked | 1 | optional
PHA-CO | Pharmacy - Counter | FFE | ITNE-049 | TELEPHONE: handset, desktop | 2
PHA-CO | Pharmacy - Counter | FFE | FIJO-058 | BENCH TOP: 600D, joinery under | 2
PHA-CO | Pharmacy - Counter | FFE | FIJO-051 | BENCH TOP: 450D, joinery under | 1
PHA-CO | Pharmacy - Counter | FFE | FIJO-099 | CAC: cable access cap | 2
PHA-CO | Pharmacy - Counter | FFE | FIJO-213 | PANEL: joinery carcass end | 1
PHA-CO | Pharmacy - Counter | FFE | FQCW-064 | BIN: waste, paper, secure, 20L | 1 | quantity and type of bins to be based on local waste management policies
PHA-CO | Pharmacy - Counter | FFE | FIJO-229 | JOINERY UNIT: reception counter, pharmacy | 1
PHA-CO | Pharmacy - Counter | FFE | FIJO-230 | JOINERY UNIT: reception counter, pharmacy, accessible | 1
PHA-CO | Pharmacy - Counter | FFE | WLPT-015 | SCREEN: security, safety glass, with communication slot and pass through | 2
PHA-CO | Pharmacy - Counter | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 3
PHA-CO | Pharmacy - Counter | SE | ELBO-015 | SWITCH: light, single | 1
PHA-CO | Pharmacy - Counter | SE | ELGP-208 | GPO: double, wall mounted | 3
PHA-CO | Pharmacy - Counter | SE | ELGP-223 | GPO: emergency power, double, wall mounted | 2 | extent of emergency power to be determined based on service requirements
PHA-CO | Pharmacy - Counter | SE | ITSE-006 | BUTTON: duress, fixed | 1 | shared, below desk