## Room Data
Standard Components - Room Data Sheet
Date of issue: 26.04.2021
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
PHA-RE | Pharmacy - Returns Workstation | 6 | 8am to 8pm, daily | 1 staff |  |  | The Returns Workstation provides workspace to sort and process medication returns from within the hospital that are to be returned to stock or sent for disposal. Storage is required to accommodate the returns before they are processed. Additional Considerations: Ready access to refrigerated storage and disposal room is required from this area. Printer and telephone facilities to be shared between multiple workstations. A Multifunction device is to be in close proximity to the returns area. Ensure adequate lighting over workspace.

## Items
Standard Components - Items in room
Date of issue: 26.04.2021
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
PHA-RE | Pharmacy - Returns Workstation | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1
PHA-RE | Pharmacy - Returns Workstation | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1
PHA-RE | Pharmacy - Returns Workstation | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1
PHA-RE | Pharmacy - Returns Workstation | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1
PHA-RE | Pharmacy - Returns Workstation | FA | CLCN-009 | CORNICE: wall trim fixing | 1
PHA-RE | Pharmacy - Returns Workstation | FFE | FQBS-018 | CHAIR: office, ergonomic | 1
PHA-RE | Pharmacy - Returns Workstation | FFE | FQDW-002 | DESK: adj height, 1800W x 750D x 750H nom. | 1
PHA-RE | Pharmacy - Returns Workstation | FFE | FIBM-019 | WHITEBOARD: fixed, magnetic | 1 | optional
PHA-RE | Pharmacy - Returns Workstation | FFE | ITNE-007 | COMPUTER: desktop, with display screen | 1 | may be on wall or desk mounted bracket, an additional screen may be provided depending on project ICT requirements
PHA-RE | Pharmacy - Returns Workstation | FFE | ITNE-003 | BAR CODING: reader | 1
PHA-RE | Pharmacy - Returns Workstation | FFE | FQSM-045 | SHELVING: storage solution, 400W x 600D x 2100H nom., wire, mobile | 2
PHA-RE | Pharmacy - Returns Workstation | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1
PHA-RE | Pharmacy - Returns Workstation | SE | ELGP-223 | GPO: emergency power, double, wall mounted | 2 | extent of emergency power to be determined based on service requirements