## Room Data
Standard Components - Room Data Sheet
Date of issue: 13.05.2020
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
STRT | Stress Testing | 20 | Available 24 Hours | 1 patient; 1 - 2 staff |  | Acoustic privacy is required | Room for undertaking patient diagnostic stress testing procedures. The Stress Testing room should be located close to patient toilet and change rooms.

## Items
Standard Components - Items in room
Date of issue: 13.05.2020
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
STRT | Stress Testing | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | floor finish must be minimum slip rating R10; Pendulum P3 or agreed equivalent to extend under basin
STRT | Stress Testing | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 7
STRT | Stress Testing | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 2 | optional
STRT | Stress Testing | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 3
STRT | Stress Testing | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 3
STRT | Stress Testing | FA | CLFS-006 | CEILING: plasterboard, flush set, suspended, paint, washable | 1
STRT | Stress Testing | FA | DWSC-003 | DOOR: 910mm c/o, single leaf, solid core, paint | 1
STRT | Stress Testing | FA | DWSC-021 | DOOR: 1400mm c/o, 1 1/2 leaf, solid core, paint | 1
STRT | Stress Testing | FA | CLCN-008 | CORNICE: square set flush between wall and ceiling, paint | 1
STRT | Stress Testing | FA | WLWA-025 | WALL FINISH: vinyl, to 1200 AFFL | 5
STRT | Stress Testing | FFE | MGFP-002 | FLOWMETER: medical air | 1 | optional
STRT | Stress Testing | FFE | FIHR-019 | BRACKET: for suction bottle | 2
STRT | Stress Testing | FFE | FQBS-019 | CHAIR: office, ergonomic, high | 1
STRT | Stress Testing | FFE | FQBS-028 | CHAIR: visitor, clinical areas | 1
STRT | Stress Testing | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1
STRT | Stress Testing | FFE | FIHR-026 | HOOK: coat | 2 | optional
STRT | Stress Testing | FFE | FIJO-131 | CUPBOARD: tall, single door, adj shelves, lockable | 1
STRT | Stress Testing | FFE | FIRT-025 | TRACK: curtain, bedscreen, U shaped | 1
STRT | Stress Testing | FFE | FQGE-010 | CURTAIN: privacy screen | 1 | to entry door
STRT | Stress Testing | FFE | FQCW-016 | BIN: waste, general, 20L | 1
STRT | Stress Testing | FFE | FIDI-019 | DISPENSER: gown/apron | 1
STRT | Stress Testing | FFE | FIDI-014 | DISPENSER: disposable glove | 1
STRT | Stress Testing | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to basin
STRT | Stress Testing | FFE | FIDI-030 | DISPENSER: soap | 1 | to basin
STRT | Stress Testing | FFE | FIDI-031 | DISPENSER: soap antiseptic | 1 | to basin
STRT | Stress Testing | FFE | FIDI-021 | DISPENSER: mask | 1
STRT | Stress Testing | FFE | MMGE-048 | LINEN CARRIER: dirty, single | 1
STRT | Stress Testing | FFE | MGFP-004 | FLOWMETER: oxygen | 2
STRT | Stress Testing | FFE | MMHA-027 | TROLLEY: resuscitation, adult | 1
STRT | Stress Testing | FFE | MMGE-088 | SAFE: dangerous drugs, small | 1 | optional, for pharmacological stress testing
STRT | Stress Testing | FFE | FQBS-052 | STOOL: mobile, high, adj height | 2
STRT | Stress Testing | FFE | MMGE-002 | ADAPTER: suction | 2
STRT | Stress Testing | FFE | MMGE-100 | SUCTION BOTTLE | 2
STRT | Stress Testing | FFE | FQCW-005 | BIN: waste, clinical, 20L | 1
STRT | Stress Testing | FFE | FIBM-019 | WHITEBOARD: fixed, magnetic | 1
STRT | Stress Testing | FFE | FQSM-003 | PEDESTAL: mobile, wire basket unit, 840H | 2
STRT | Stress Testing | FFE | HYBA-010 | BASIN: handwash, Type B | 1 | refer to BHWS-B (similar)
STRT | Stress Testing | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 | to basin
STRT | Stress Testing | FFE | ITCL-014 | CLOCK: analogue, electric | 1
STRT | Stress Testing | FFE | MMHA-002 | DEFIBRILLATOR | 1
STRT | Stress Testing | FFE | MMMI-325 | DEVICE: imaging, echocardiography machine | 1
STRT | Stress Testing | FFE | LIFX-027 | LIGHT: examination, ceiling mounted | 1
STRT | Stress Testing | FFE | ITNE-049 | TELEPHONE: handset, desktop | 1
STRT | Stress Testing | FFE | MMAH-027 | TREADMILL: automatic | 1
STRT | Stress Testing | FFE | FIJO-059 | BENCH TOP: 600D, joinery under, laminate finish | 1
STRT | Stress Testing | FFE | FIJO-212 | BULKHEAD: joinery | 1
STRT | Stress Testing | FFE | MMGE-179 | MACHINE: electrocardiography (ECG), c/w trolley and printer shelf | 1
STRT | Stress Testing | FFE | MMBE-069 | TROLLEY: patient, echocardiography | 1
STRT | Stress Testing | FFE | ITNE-071 | COMPUTER: desktop, with dual display screens | 1
STRT | Stress Testing | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 5 | 1 outlet for telephone
STRT | Stress Testing | SE | ELPR-006 | RCD: residual current device | 2
STRT | Stress Testing | SE | ELGP-101 | GPO: single, ceiling mounted | 1
STRT | Stress Testing | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | on services panel, + indicator button & light
STRT | Stress Testing | SE | ELBO-015 | SWITCH: light, single | 2 | optional, to optional change room
STRT | Stress Testing | SE | MGAS-042 | OUTLET: oxygen (O2), on services panel | 2 | on services panel
STRT | Stress Testing | SE | MGAS-022 | OUTLET: medical air (MA), on services panel | 1 | on services panel, optional
STRT | Stress Testing | SE | MGAS-062 | OUTLET: suction, on services panel | 2 | on services panel
STRT | Stress Testing | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | + indicator button & light
STRT | Stress Testing | SE | ELGP-109 | GPO: single, wall mounted | 1
STRT | Stress Testing | SE | ELGP-208 | GPO: double, wall mounted | 6
STRT | Stress Testing | SE | ELGP-122.1 | GPO: emergency power, single, on services panel (V) | 4 | on services panel
STRT | Stress Testing | SE | ELGP-223 | GPO: emergency power, double, wall mounted | 3
STRT | Stress Testing | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1
STRT | Stress Testing | SE | MMSP-026 | SERVICES PANEL: wall mounted | 1
STRT | Stress Testing | SE | ELBO-012 | SWITCH: light, dimmer | 1