## Room Data
Standard Components - Room Data Sheet
Date of issue: 26.04.2021
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
TRMT-POD | Treatment Room - Podiatry | 14 | up to 24 Hours | 1 patient, 1 visitor/carer, 1 staff |  | Sound attenuation level high, Acoustic privacy is required. | The Treatment Room - Podiatry provides space and facilities for podiatry consultation, examination and treatment. The room may be used for measuring and fitting prosthetic appliances but not for fabrication. Additional Considerations: Medication storage, clean-up facilities for instruments, sink and plaster trap facilities are to be provided nearby. An operational model for responding to calls from staff/patients will be needed to support the inclusion of a nurse call system and is to be determined based on service requirements. An external outlook is desirable.

## Items
Standard Components - Items in room
Date of issue: 26.04.2021
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
TRMT-POD | Treatment Room - Podiatry | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | floor finish must be minimum slip rating R10; pendulum P3 or agreed equivalent to extend under basin
TRMT-POD | Treatment Room - Podiatry | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 9
TRMT-POD | Treatment Room - Podiatry | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 2
TRMT-POD | Treatment Room - Podiatry | FA | WLWA-007 | WALL FINISH: splashback | 2
TRMT-POD | Treatment Room - Podiatry | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 5
TRMT-POD | Treatment Room - Podiatry | FA | WLWA-020 | WALL FINISH: vinyl, to 1500 AFFL | 4
TRMT-POD | Treatment Room - Podiatry | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1
TRMT-POD | Treatment Room - Podiatry | FA | DWGL-033 | DOOR: 1400mm c/o, 1 1/2 leaf, observation panel, solid core/glass, paint | 1
TRMT-POD | Treatment Room - Podiatry | FA | CLCN-009 | CORNICE: wall trim fixing | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FIHR-019 | BRACKET: for suction bottle | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FIHR-016 | BRACKET: for sharps bin | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FQBS-028 | CHAIR: visitor, clinical areas | 2
TRMT-POD | Treatment Room - Podiatry | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FQGE-005 | CLOCK: analogue, battery operated | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FIJO-117 | CUPBOARD: tall, double door, adj shelves, lockable | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FIJO-135 | CUPBOARD: underbench, double door, adj shelves | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FQGE-010 | CURTAIN: privacy screen | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FQCW-016 | BIN: waste, general, 20L | 1 | to basin
TRMT-POD | Treatment Room - Podiatry | FFE | FIDI-014 | DISPENSER: disposable glove | 1 | to basin
TRMT-POD | Treatment Room - Podiatry | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to basin
TRMT-POD | Treatment Room - Podiatry | FFE | FIDI-030 | DISPENSER: soap | 1 | to basin
TRMT-POD | Treatment Room - Podiatry | FFE | FIDI-031 | DISPENSER: soap antiseptic | 1 | to basin
TRMT-POD | Treatment Room - Podiatry | FFE | MGFP-004 | FLOWMETER: oxygen | 1
TRMT-POD | Treatment Room - Podiatry | FFE | MMGE-139 | TROLLEY: procedure | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FQCW-044 | BIN: waste, sharps, wall mounted | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FIJO-152 | CUPBOARD: wall mount, shelf unit, adj shelves | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FQBS-051 | STOOL: mobile, adj height | 1
TRMT-POD | Treatment Room - Podiatry | FFE | MMGE-002 | ADAPTER: suction | 1
TRMT-POD | Treatment Room - Podiatry | FFE | MMGE-100 | SUCTION BOTTLE | 1
TRMT-POD | Treatment Room - Podiatry | FFE | HYBA-010 | BASIN: handwash, Type B | 1
TRMT-POD | Treatment Room - Podiatry | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 | to basin
TRMT-POD | Treatment Room - Podiatry | FFE | ITNE-008 | COMPUTER: for workstation on wheels | 1 | computer may alternatively be on benchtop or wall mounted
TRMT-POD | Treatment Room - Podiatry | FFE | LIFX-013 | LIGHT: procedure, ceiling mounted, small | 1
TRMT-POD | Treatment Room - Podiatry | FFE | MMAH-010 | CHAIR: podiatry, electric | 1
TRMT-POD | Treatment Room - Podiatry | FFE | ITNE-053 | TELEPHONE: handset, wall mount, handsfree | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FIJO-059 | BENCH TOP: 600D, joinery under, laminate finish | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FQCW-008 | BIN: waste, clinical, 50L | 1 | optional; type, size and quantity of bins to be determined based on service requirements and waste management policies
TRMT-POD | Treatment Room - Podiatry | FFE | MMGE-164 | WORKSTATION ON WHEELS: clinical, mobile | 1 | computer may alternatively be on benchtop or wall mounted
TRMT-POD | Treatment Room - Podiatry | FFE | FIJO-212 | BULKHEAD: joinery | 2 | plasterboard bulkhead also acceptable
TRMT-POD | Treatment Room - Podiatry | FFE | FIDI-054 | DISPENSER: ppe combination | 1
TRMT-POD | Treatment Room - Podiatry | FFE | FIRT-047 | TRACK: curtain, privacy, U shaped | 1
TRMT-POD | Treatment Room - Podiatry | SE | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 1 | to telephone
TRMT-POD | Treatment Room - Podiatry | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1
TRMT-POD | Treatment Room - Podiatry | SE | ELPR-006 | RCD: residual current device | 3
TRMT-POD | Treatment Room - Podiatry | SE | ELGP-101 | GPO: single, ceiling mounted | 1
TRMT-POD | Treatment Room - Podiatry | SE | LIFX-008 | LIGHT: task light, built in | 1
TRMT-POD | Treatment Room - Podiatry | SE | ELBO-015 | SWITCH: light, single | 3 | 1 x general room lighting, 1 x task light, 1 x examination light
TRMT-POD | Treatment Room - Podiatry | SE | MGAS-042 | OUTLET: oxygen (O2), on services panel | 1
TRMT-POD | Treatment Room - Podiatry | SE | MGAS-062 | OUTLET: suction, on services panel | 1
TRMT-POD | Treatment Room - Podiatry | SE | ITCL-028 | HANDSET: nurse call, with patient to staff call button | 1
TRMT-POD | Treatment Room - Podiatry | SE | ITCL-004 | BUTTON: nurse call, emergency | 1
TRMT-POD | Treatment Room - Podiatry | SE | ELGP-208 | GPO: double, wall mounted | 3 | extent of emergency power to be determined based on service requirements
TRMT-POD | Treatment Room - Podiatry | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1
TRMT-POD | Treatment Room - Podiatry | SE | ELGP-123 | GPO: emergency power, single, wall mounted | 1
TRMT-POD | Treatment Room - Podiatry | SE | ITSE-006 | BUTTON: duress, fixed | 1
TRMT-POD | Treatment Room - Podiatry | SE | MMSP-026 | SERVICES PANEL: wall mounted | 1
TRMT-POD | Treatment Room - Podiatry | SE | ITIN-025 | OUTLET: data, double RJ45, on services panel | 1
TRMT-POD | Treatment Room - Podiatry | SE | ELGP-205 | GPO: double, on services panel | 2 | extent of emergency power to be determined based on service requirements