## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Room |  |  | Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
TRMT-14 | Treatment Room | 14 |  | 1 patient; 1-2 staff, and on occasions 1-2 visitor | 24 Hours | Sound attenuation level high, Acoustic privacy is required. | The Treatment Room provides a controlled environment, privacy and facilities for carrying out consultations, examinations and minor procedures. Acoustics: Sound attenuation level - high; Acoustic privacy is required. Body Protected electrical area

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Items | [6 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
TRMT | Treatment Room | FE | FE-11415 | Computer - PACS | 1 | optional |  |  |  | Yes | Yes | No | No | No | No | No | No | No
TRMT | Treatment Room | FE | FE-3100 | Basin - scrub, Type A | 1 | refer to BHWS-A (sim) |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
TRMT | Treatment Room | FE | FE-31700 | Light - examination, ceiling | 1 |  |  |  |  | Yes | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FE | FE-3700 | Bed - inpatient, electric | 1 | spatial provision only |  |  |  | Yes | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FE | FE-43800 | Refrigerator - under-bench, 120 Litre | 1 | optional |  |  |  | Yes | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FE | FE-54510 | Telephone - handset, standard | 1 | to bench, optional |  |  |  | No | Yes | No | No | No | No | No | No | No
TRMT | Treatment Room | FE | FE-68700 | Xray viewer - 2 screen | 1 | optional |  |  |  | Yes | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-1050 | Bench - laminate | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-12900 | Wire panel - for storage-bins | 2 | over bench, optional |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-1465 | Bracket - suction bottle | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-150 | Air flowmeter | 1 | to services panel |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-16250 | Oxygen flowmeter | 2 | to services panel |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-19700 | Sharps bin | 1 | on trolley |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-21755 | Storage bins | 5 | for louvred panels, optional |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-21950 | Suction adapter | 1 | to services panel |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-24100 | Waste bin - paper, 20 Litre | 1 | to basin |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-3350 | Clock - battery operated | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-4410 | Cupboard - under bench | 1 | adjustable shelf, optional |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-4470 | Cupboard - wall mounted, lockable | 1 | over bench, adjustable shelf, optional |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-4600 | Curtain track - bed screen | 1 | to door opening |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-5000 | Curtain - bed screen | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-6152 | Dispenser - disposable glove | 1 | 3 compartments |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | to basin |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-6156 | Dispenser - soap | 1 | to basin |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-6157 | Dispenser - medicated hand gel | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-6158 | Dispenser - soap antiseptic | 1 | to basin |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | FF | FF-6600 | Trolley - dressing | 1 | 600x600x900mmH |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-9000 | GPO: Single | 2 | XRV, fridge |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-9000 | GPO: Single | 4 | to patient services panel |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-9010 | GPO: Emergency power, single (V) | 2 | to patient services panel |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-9001 | GPO: Double | 1 | to bench |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-9015 | GPO: Cleaner | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-9040 | Body protected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-9060 | GPO: Special: for equipment | 1 | exam light |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-1006 | Voice / Data outlet: double | 2 | 1 outlet on each panel for telephone |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-6001 | General: colour corrected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-6055 | Special: task light, built in | 1 | under O/H cupboards |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-8000 | Patient/ Staff call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-8005 | Patient call handset | 1 | call button on the handset |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-8010 | Staff/ Nurse assist call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-8080 | Emergency call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-7000 | Oxygen (O2) | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-7020 | Medical Air (MA) | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-7040 | Suction | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | SE | S-11000 | Wall panel | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | Fabrics | 1000 | Floor finish | 1 |  | Vinyl | Standard slip resistant | Seamless, coved | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | Fabrics | 2726 | Floor finish | 1 |  | Vinyl, non slip |  | Seamless coved | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | Fabrics | 2727 | Wall finish | 1 |  |  |  | Splashback | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | Fabrics | 2525 | Wall protection | 1 |  |  |  | Bed protection wall panel | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | Fabrics | 5007 | Ceiling - Plasterboard | 1 |  | Plasterboard | Paint | Bulkhead | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | Fabrics | 5010 | Ceiling - Plasterboard | 1 |  | Plasterboard | Paint, washable | Flush set, suspended | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | Fabrics | 9128 | Door - 1200mm | 1 | 1400mm clear opening; lockable | Solid Core/ Glass | Paint | 1 1/2 leaf, observation panel | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | Fabrics | 9004 | Door - 1100mm | 1 | 910mm clear opening, to Clean Utility, optional | Solid Core/ Glass | Paint | Single leaf, observation panel | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | Fabrics | 2529 | Door protection | 1 |  | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | Fabrics | 2712 | Door protection | 1 |  |  |  | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
TRMT | Treatment Room | Fabrics | 2000 | Skirting | 1 |  | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No