## HPU 155 Rev 7_Sept 2020
ENTRY / RECEPTION / WAITING
AusHFG Room Code | Room / Space | SC / SC-D | 12 Rooms + 12 Medical Day Spaces |  | 36 Rooms + 24 Medical Day Spaces |  | Remarks
|  |  | Qty | m2 | Qty | m2
AIRLE-10 | Airlock - Entry | Yes | 1 | 10 | 1 | 10 | Only provided when located on a stand-alone site or where a dedicated external entry is provided.
RECL-10 | Reception / Clerical | Yes | 1 | 10 | 1 | 20 | May be decentralised with separate sub-wait areas for each zone.
WAIT-30 | Waiting | Yes | 1 | 30 | 2 | 25 | Area recommendation is indicative and will depend on the no. of people to be accommodated. 1.2m2 recommended per seat, 1.5m2 per wheelchair space. May be further divided into sub-wait areas for appropriate separation of client cohorts (eg a separated waiting area for families with children) and to facilitate way-finding. Consider infrastructure requirements for patient self-registration and access to education / health promotion resources.
PLAP-10 | Play Area - Paediatrics | Yes | 1 | 8 | 1 | 10
BWC | Bay - Wheelchair Park | Yes | 1 | 2 | 1 | 4
BWD-1 | Bay – Water Dispenser | Yes | 1 | 1 | 1 | 1
WCPU-3 | Toilet - Public | Yes | 1 | 3 | 2 | 3 | Number of toilets to align with BCA requirements.
| Discounted Circulation % |  | 25% |  | 25%
PATIENT AREAS
MULTIFUNCTIONAL ROOMS
AusHFG Room Code | Room / Space | SC / SC-D | 12 Rooms |  | 36 Rooms |  | Remarks
|  |  | Qty | m2 | Qty | m2
CONS | Consult Room | Yes | 6 | 12 | 20 | 12 | Assume large units are divided into pods. Number dependent on scope of services and projected utilisation. 14m2 required for child-related services.
CONS-UN | Consult Room - Universal Access | Yes | 1 | 17 | 1 | 17 | Number to be provided will depend on the patient cohort.
INTF | Interview Room | Yes | 4 | 12 | 12 | 12 | Assume large units are divided into pods. Number dependent on scope of services and projected utilisation.
TRMT | Treatment Room | Yes | 1 | 14 | 3 | 14 | For minor procedures, number dependent on scope of services and projected utilisation.
WCPT | Toilet - Patient | Yes | 1 | 4 | 2 | 4 | Collocate with specimen collection bay where provided for urine testing. Observed urine testing for drug screening will require appropriate design.
BHW | Bay - Height / Weight | Yes | 1 | 2 | 1 | 2
CLUR-8 | Clean Utility / Medication Room - Sub | Yes | 1 | 8 | 1 | 12
OFF-CLN | Office - Clinical Workroom | Yes | 1 | 12 | 3 | 12 | Assume 1 per pod
| Office – Workstation |  |  | 4.4 |  | 4.4 | The majority of work areas should be located in the staff zone, however a number of workstations may be required within the clinical zone. Number and area allocation will depend on staff profile and local jurisdictional policies.
| Discounted Circulation % |  | 32% |  | 32%
MEDICAL DAY TREATMENT
AusHFG Room Code | Room / Space | SC / SC-D | 12 Spaces |  | 24 Spaces |  | Remarks
|  |  | Qty | m2 | Qty | m2
TRMT-CHE | Treatment Bay | Yes | 11 | 9 | 22 | 9 | Acute treatment spaces. May be arranged in pods of 2-4 chairs, designed to ensure staff have oversight across the unit.
1BR-H-12 | 1 Bed Room - Holding | Yes | 1 | 12 | 2 | 12 | Allocation is indicative only and inclusion will be dependent on local requirements. Inclusion of positive or negative pressure rooms will depend on service scope.
ENS-ST | Ensuite - Standard | Yes | 1 | 5 | 2 | 5 | For enclosed/isolation rooms.
BHWS-B | Bay - Handwashing, Type B | Yes | 3 | 1 | 6 | 1 | 1 between 4 spaces
BMEQ-4 | Bay - Mobile Equipment | Yes | 1 | 2 | 1 | 4
SSTN-10 | Staff Station | Yes | 1 | 10 | 1 | 14
CLUR-8 | Clean Store / Medication Room - Sub | Yes | 1 | 8 | 1 | 12 | Assumes combined room, however these may be separate rooms depending on clinical requirements and local policies. Assume +4m2 for chemo services to accomodate cytotoxic, blood and medication fridges and additional IV fluids.
DTUR-S | Dirty Utility - Sub | Yes | 1 | 8 | 1 | 12 | May also include disposal room function. Inclusion of pan washer, pan and bottle racks is optional. Chemo services will include cytotoxic waste.
WCPT | Toilet - Patient | Yes | 1 | 4 | 3 | 4
WCAC | Toilet - Accessible, 6m2 | Yes | 1 | 6 | 1 | 6
| Discounted Circulation % |  | 32% |  | 32%
SHARED SUPPORT
AusHFG Room Code | Room / Space | SC / SC-D | 12 Rooms + 12 Medical Day Spaces |  | 36 Rooms + 24 Medical Day Spaces |  | Remarks
|  |  | Qty | m2 | Qty | m2
BBEV-OP | Bay - Beverage, Open Plan | Yes | 1 | 4 | 1 | 4
BLIN | Bay - Linen | Yes | 1 | 2 | 1 | 2
STEQ-14 | Store - Equipment | Yes | 1 | 7 | 1 | 14
STGN-9 | Store - General | Yes | Share |  | 1 | 9 | Sized to meet storage needs and operational arrangements.
CLRM-5 | Cleaner's Room | Yes | 1 | 5 | 1 | 5 | May be shared with an adjacent service.
| Discounted Circulation % |  | 32% |  | 32%
STAFF AREAS
AusHFG Room Code | Room / Space | SC / SC-D | 12 Rooms + 12 Medical Day Spaces |  | 36 Rooms + 24 Medical Day Spaces |  | Remarks
|  |  | Qty | m2 | Qty | m2
OFF-S9 | Office - Single Person | Yes |  | 9 |  | 9 | Number and area allocation will depend on staff profile and local jurisdictional policies.
| Office – Workstation |  |  | 4.4 |  | 4.4 | Number and area allocation will depend on staff profile and local jurisdictional policies.
STPS-8 | Store - Photocopy / Stationery | Yes | 1 | 4 | 1 | 8
MEET-L-20 | Meeting Room | Yes | 1 | 15 | 1 | 20 | Size will depend on number of people to be accommodated.
SRM-15 | Staff Room | Yes | 1 | 15 | 1 | 15 | Requirements will depend on staff profile and oportunity to share with adjacent services.
PROP-2 | Property Bay - Staff | Yes | 1 | 1 | 1 | 2 | Indicative only and space allocation will be dependent on staff numbers and local policies.
WCST | Toilet - Staff | Yes | 2 | 3 | 3 | 3 | Number in accordance with staff profile. Access to an accessible toilet will be required.
| Discounted Circulation % |  | 25% |  | 25%
OPIOID DOSING CLINIC (OPTIONAL)
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Qty | m2 | Remarks
WAIT-10 | Waiting | Yes | 1 | 20 | 1 | 20
| Dosing Area |  | 1 | 4 | 1 | 4
| Dispensary |  | 1 | 9 | 1 | 9
WCAC | Toilet - Accessible | Yes | 1 | 6 | 1 | 6 | Specimen collection
CLUR-8 | Clean Utility | Yes | 1 | 8 | 1 | 8 | Including S8 drug safe.
| Discounted Circulation |  | 25-32% |  | 25-32%
OPTIONAL AREAS
AusHFG Room Code | Room / Space | SC / SC-D | 12 Rooms + 12 Medical Day Spaces |  | 36 Rooms + 24 Medical Day Spaces |  | Remarks
|  |  | Qty | m2 | Qty | m2
Entry, Reception, Waiting
WCAC | Toilet - Accessible | Yes | 1 | 6 (o) | 1 | 6 (o) | Optional. To be included if not located nearby.
PAR | Parenting Room | Yes | 1 | 6 (o) | 1 | 6 (o) | Optional. To be included if not located nearby.
Multifunctional Rooms
INTF-MH | Interview Room - Mental Health | Yes |  | 14 (o) |  | 14 (o) | Optional. For patients with mental health conditions to reduce risk to staff and patients.
SPECC | Specimen Collection Bay | Yes |  | 9 (o) |  | 9 (o) | Optional. Inclusion is dependent on service scope. 9m2 assumes provision of an open bay. Assume 12m2 for an enclosed specimen collection room.
MEET-L-20 | Meeting Room, Medium | Yes | 1 | 20 (o) | 1 | 20 (o) | Use for group activities, education and integrated care case reviews. Number and size is dependent on scope of services and projected utilisation.
MEET-L-30 | Meeting Room, Large | Yes |  |  | 1 | 40 (o) | Commonly used for community health group classes and education. Size will be dependent on scope of services and projected utilisation. Provide external access for after hours use. Consider telehealth requirements.
| Observation Room |  |  | 9 (o) |  | 9 (o) | Optional. Highly utilised by allied health.
DTUR-S | Dirty Utility - Sub | Yes | 1 | 8 (o) | 1 | 8 (o) | Optional. May include a combined disposal room function. Requirements will depend on service profile, eg these are frequently used for continence and palliative care clinics. Inclusion of pan washer, pan and bottle racks is optional.
Medical Day Treatment
CONS | Consult Room | Yes | 1 | 12 (o) | 1 | 12 (o) | Optional, if service is not collocated with other ambulatory care services.
PROC | Procedure Room | Yes |  | 20 (o) |  | 20 (o) | Optional. Inclusion and number dependent on service scope and utilisation.
BES | Bay - Emergency Shower | Yes | 1 | 1 (o) | 1 | 1(o) | Optional, depending on service profile. Includes emergency eye wash. Required for chemo services.
Shared Support
BRES | Bay - Resuscitation | Yes | 1 | 1.5 (o) | 1 | 1.5 (o) | Inclusion will depend on operational policies. May include basic or advanced life support trolleys depending on service profile.
DISP-8 | Disposal Room | Yes | 1 | 8 (o) | 1 | 10 (o) | Optional. May be shared with an adjacent service or provided as a separate waste compound for the facility eg for standalone community health centres. Other 'back of house' services requirements will require confirmation for stand alone centres.