## Entry_Reception
Multipurpose Service Unit
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ENTRY / RECEPTION
AIRLE-10 | Airlock - Entry, 10m2 | Yes | 1 | 10
WAIT-10 | Waiting, 10m2 | Yes | 1 | 18 | Single waiting zone to support ED, Ambulatory Care and acute/ residential areas The size of waiting area is indicative only and the space allocation will be dependent on service types and volumes. In selected jurisdictions, a separate waiting area may be provided if a GP service is collocated with the MPS.
PLAP-10 | Play Area - Paediatric, 10m2 | Yes | 1 | 10 | As above
RECL-10 | Reception / Clerical, 10m2 | Yes | 1 | 9 | 1 staff member
BPH | Bay – Public Telephone | Yes | 1 | 2 | 1 only phone
BVM-3 | Bay – Vending Machines | Yes | 1 | 3 | Optional. Assumes 2 machines. Place in a location where noise generated by the machines is minimised.
WCAC | Toilet – Accessible, 6m2 | Yes | 1 | 6 | Includes baby change
WCPU-3 | Toilet – Public, 3m2 | Yes | 1 | 3
OFF-2P | Office – 2 Person Shared, 12m2 | Yes | 1 | 12 | General administration. Dependent on staffing profile.
OFF-S9 | Office – Single Person, 9m2 | Yes | 1 | 12 | Health Service Manager
STFS-20 | Store – Files, 20m,2 | Yes | 1 | 20 | Medical records shelving or compactus
| Dicounted Circulation |  |  | 32%
PRIMARY / AMBULATORY ZONE
CONS | Consult Room | Yes |  | 14 | Additional area for paediatrics/ maternity. Number will depend on service plan (Note: suggest all area sized at 14m2 as the numbers are usually low and this is a flexible size).
WCPT | Toilet - Patient, 4m2 | Yes | 1 | 4 | Located near consult / treatment rooms. For public toilets use Toilet - Patient and toilets at entry /reception.
TRMT | Treatment Room | Yes | 1 | 14 | Optional. May be required for allied health treatment or wound care.
INTF | Interview Room | Yes | 1 | 12
MEET-L-30 | Meeting Room, 30m2 | Yes | 1 | 30 | Telehealth, video conferencing, staff education
| Activity Room |  | 1 | 50 | Planned for education and community group activities.
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes | 1 | 4
| Office - Workstation, 5.5m2 |  |  | 5.5 | No. dependent on staffing profile
| Office - Workstation, 4.4m2 |  |  | 4.4 | No. dependent on staffing profile
PROP-2 | Property Bay - Staff | Yes | 1 | 2
STGN-9 | Store - General, 9m2 | Yes | 1 | 10 | Or cupboards
| Dicounted Circulation |  |  | 32%
TREATMENT AND IMAGING ZONE
| Ambulance Bay |  |  | 1 | Assuming no station. Size will depend on number of vehicles. Consultation with ASNSW required.
| Airlock - Ambulance Entry |  | 1 | 12 | Includes disaster store
| Resuscitation / Treatment / Holding |  | 1 | 16 | May be used for minor procedures. Increase to 32m2 if two spaces are needed.
| Triage Room |  | 1 | 12
OFF-WI-3 | Office - Write-Up, 3m2 | Yes | 1 | 3
| X-Ray Room (Mobile) |  | 1 | 14 | Optional
| Bay - CR Reader |  | 1 | 3 | Optional +/- PACS viewing or bench
BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes | 1 | 4
BRES | Bay - Resuscitation | Yes | 1 | 1.5 | Adjacent to Resuscitation/ Treatment/ Holding
| Dicounted Circulation |  |  | 32%
IPATIENT ZONE 4 BEDS
1BR-SP-A | 1 Bed Room - Special, 18m2 | Yes | 1 | 18 | Management of bariatric patients
ENS-SP | Ensuite - Special, 6m2 | Yes | 1 | 6 | Management of bariatric patients
1BR-ST | 1 Bed Room, 15m2 | Yes | 3 | 15
ENS-ST | Ensuite - Standard, 5m2 | Yes | 3 | 5
BHWS-PPE | Bay - Hand Washing - PPE | Yes | 2 | 1.5 | As per Part D. Locate outside of pair of 1 Bed Rooms.
BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes | 1 | 4
| Dicounted Circulation |  |  | 32%
RESIDENTIAL ZONE 12 BEDS
| 1 Bed Room - Special (residential) |  | 1 | 18
| Ensuite - Super (residential) |  | 1 | 6
| 1 Bed Room (residential) |  | 9 | 15
| 2 Bed Room (residential) |  | 1 | 25 | Optional
| Ensuite (residential) |  | 10 | 5
| Lounge - Resident |  | 1 | 36 | 3m2 per resident
| Dining - Resident |  | 1 | 24 | 2m2 per resident
| Kitchenette |  | 1 | 8 | 1m2 per resident, may be incorporated into dining area
| Resident Lounge/ Multipurpose Room |  | 1 | 16 | For family meals, gatherings and functions. May be booked by families
| Sitting Area |  | 3 | 6
WCPT | Toilet - Patient, 4m2 | Yes | 1 | 4 | Located adjacent to shared areas.
SPP | Store - Patient Property | Yes | 1 | 8 | Capacity will be consistent with the needs of residents' storage
STGN-9 | Store - General, 9m2 | Yes | 1 | 12
BLIN | Bay - Linen | Yes | 1 | 2
BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes | 2 | 4
| Dicounted Circulation |  |  | 32%
CLINICAL SUPPORT
SSTN-14 | Staff Station, 14m2 | Yes | 1 | 14
OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9 | Nursing Unit Manager
CLUR-14 | Clean Utility, 14m2 | Yes | 1 | 14
DTUR-12 | Dirty Utility, 12m2 | Yes | 1 | 12 | A second dirty utility may be required depending on the number of areas served and travel distances.
BLIN | Bay - Linen | Yes | 1 | 2
BPATH | Bay -Pathology | Yes | 1 | 3 | Optional. Laboratory equipment, if required, may be located in the Resuscitation/ Treatment/ Holding areas along with a small refrigerator for specimen holding.
| Dicounted Circulation |  |  | 32%
SUPPORT ZONE
CLRM-10 | Cleaner's Room, 10m2 | Yes | 1 | 10
| Kitchen |  | 1 | 40
STBK-20 | Store - Bulk | Yes | 1 | 30
STEQ-20 | Store - Equipment, 20m2 | Yes | 1 | 20
| Laundry |  | 1 | 16 | Services provided for residents
| Store - Dirty Linen |  | 1 | 8
| Store - Clean Linen |  | 1 | 4
| Store - Flammables |  | 1 | 6
| Store - Medical Gases |  | 1 | 5
| Waste holding - General, and recycling |  | 1 | 10
| Waste holding - Clinical |  | 1 | 10
MOR-CS | Mortuary - Cool Store | Yes | 1 | 14 | Optional depending on site guidelines and processes (i.e. availability of funeral directors to receive the deceased)
| Dicounted Circulation |  |  | 32%
STAFF ZONE
OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9 | Health Service Manager
SRM-18 | Staff Room, 18m2 | Yes | 1 | 20 | Sized in conjunction with staff establishment, operational practice regarding meal times and number of staff on duty each shift. Includes beverage bay.
PROP-2 | Property Bay - Staff | Yes | 1 | 2
SHST | Shower - Staff, 3m2 | Yes | 1 | 3 | May be provided as part of the site staff facilities
WCST | Toilet - Staff, 3m2 | Yes | 2 | 3
| Discounted Circulation |  |  | 32%