## Entry_Reception
ENTRY / RECEPTION AREA
Room Function #: | HPU or SubParts (Name) | Functional Grouping | Department | AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
B.0390.01.016 | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 |  | Bay - Lockers |  | 1 | 1 | Optional; for visitors' use
B.0390.01.004 | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | CONS | Consult Room | Yes | 1 | 12 | No. to be determined. Size based on Paediatric use. Will require heat table and scales.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | INTF | Interview Room | Yes | 2 | 12
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | INTF | Interview Room | Yes |  | 12
B.0390.01.011 | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | RECL-12 | Reception / Clerical, 12m2 | Yes | 1 | 12 | For 1 - 2 staff. Visitors will have access to hand hygiene at entry, in Family Support Areas and at each bed space
B.0390.01.012 | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | STPS-8 | Store - Photocopy / Stationery, 8m2 | Yes | 1 | 8 | Optional. May not be duplicated if provided in Staff Area
B.0390.01.014 | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | WCAC | Toilet - Accessible, 6m2 | Yes | 1 | 6
B.0390.01.013 | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | WAIT-20 | Waiting, 20m2 | Yes | 1 | 20 | Designed to enable separation of family groups. May include phones and vending
[5 empty] | Discounted Circulation |  |  | 25%

## Inpatient Areas
INPATIENT AREAS
Room Function #: | HPU or SubParts (Name) | Functional Grouping | Department | AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
B.0390.01.017 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | ANRM | Anteroom | Yes | 2 | 6 | As required for Class N Isolation Rooms
B.0390.01.018 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | ANRM | Anteroom | Yes |  | 6 | As required for Class N Isolation Rooms
B.0390.01.019 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BAEX-12 | Bathing / Examination Area |  | 1 | 15
B.0390.01.021 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes | 15 | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.022 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.023 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.024 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.025 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.026 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.027 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.028 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.029 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.030 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.031 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.032 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.033 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.034 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.035 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.089 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes | 16 | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.090 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.091 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.092 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.093 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.094 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.095 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.096 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.097 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.098 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.099 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.100 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.101 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.102 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.103 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.104 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.055 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes | 14 | 10 | Excludes basins & circulation
B.0390.01.056 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.057 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.058 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.059 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.060 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.061 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.062 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.063 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.064 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.065 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.066 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.067 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.068 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.073 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes | 16 | 16 | Area excludes basins.
B.0390.01.074 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.075 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.076 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.077 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.078 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.079 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.080 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.081 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.082 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.083 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.084 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.085 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.086 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.087 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.088 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.107 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Negative Pressure |  | 2 | 17 | Includes basin.
B.0390.01.108 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Negative Pressure |  |  | 17 | Includes basin.
B.0390.01.109 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Standard |  | 6 | 17 | Includes basin.
B.0390.01.110 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Standard |  |  | 17 | Includes basin.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Standard |  |  | 17 | Includes basin.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Standard |  |  | 17 | Includes basin.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Standard |  |  | 17 | Includes basin.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Standard |  |  | 17 | Includes basin.
B.0390.01.111 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Isolation Room Lobby |  |  | 8 | Outside the isolation rooms for linen, small staff base, supplies, etc
B.0390.01.112 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | PROC-20 | Procedure Room | Yes | 1 | 20
[5 empty] | Discounted Circulation |  |  | 25%

## Clinical Support
CLINICAL SUPPORT
Room Function #: | HPU or SubParts (Name) | Functional Grouping | Department | AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
B.0390.01.130 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BPATH | Bay - Pathology | Yes | 1 | 4 | Bench 1200 x 800; analysers, ice machine, handbasin and pneumatic tube station.
B.0390.01.120 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | CLUR-14 | Clean Utility, 14m2 | Yes | 1 | 14 | Includes medications
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | DTUR-10 | Dirty Utility, 10m2 | Yes | 1 | 10 | Includes medications
B.0390.01.119 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | CLRM-5 | Cleaner's Room, 5m2 | Yes | 1 | 5
B.0390.01.121 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 |  | Disposal Room, 10m2 |  | 1 | 10
B.0390.01.122 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | ECL-14 | Equipment Clean-Up, 14m2 | Yes | 1 | 14 | For cleaning beds, incubators, dismantling & cleaning respiratory equipment.
B.0390.01.117 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 |  | Linen Cupboard | Yes | 1 | 1 | Optional. For small items that are not processed by the Linen Service - baby clothes etc
B.0390.01.124 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 |  | Milk Storage Room |  | 1 | 12 | With refrigerators and freezers. Staff only area
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | FORM | Formula Room | Yes | 1 | 9 | Used for formula preparation and storage. Also used by mothers to sterilize expressing equipment.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes | 4 | 4 | General storage eg. Trolleys
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes |  | 4 | General storage eg. Trolleys
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes |  | 4 | General storage eg. Trolleys
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes |  | 4 | General storage eg. Trolleys
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BMEQ-6 | Bay - Mobile Equipment, 6m2 | Yes | 1 | 6 | X-Ray / Ultrasound
B.0390.01.123 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | OFF-CLW | Office - Clinical Workroom | Yes | 1 | 15
B.0390.01.125 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | SSTN-20 | Staff Station, 20m2 | Yes | 1 | 20 | Number dependent on layout.
B.0390.01.126 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | STSS-24 | Store - Sterile Stock, 24m2 | Yes | 1 | 25 | Based on 0.5m2 per cot. Assumes compactus
B.0390.01.131 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | STEQ-20 | Store - Equipment, 20m2 | Yes | 1 | 100 | Based on 2m2 per bed. Include space for biomedical assessment & repair
B.0390.01.127 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | STGN-9 | Store - General, 9m2 | Yes | 1 | 9
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 |  | Store - Intra-Hospital Transport Equipment |  | 1 | 8
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BMEQ-6 | Bay - Mobile Equipment, 6m2 | Yes | 1 | 6 | Intra-hospital equipment
B.0390.01.128 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | STGN-8 | Store - Retrieval Equipment | Yes | 1 | 0 | Space requirements will depend on the role of the retrieval service. Refer 390.06.25.
[5 empty] | Discounted Circulation |  |  | 40%

## Family Support
FAMILY SUPPORT AREAS
Room Function #: | HPU or SubParts (Name) | Functional Grouping | Department | AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
B.0390.01.134 | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 | PLAP-10 | Play Area - Paediatric, 10m2 | Yes | 1 | 10 | For siblings.
B.0390.01.132 | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 | FEED | Feeding Room | Yes | 1 | 12 | For expressing milk & breast feeding; 3-4 mothers
B.0390.01.133 | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 | LAUN-PT | Laundry - Domestic | Yes | 1 | 6 | Baby and parent clothing. Incorporate linen cupboard for small items
B.0390.01.137 | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent / Infant Room |  | 6 | 15 | May accommodate parents and newborns.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent / Infant Room |  |  | 15 | May accommodate parents and newborns.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent / Infant Room |  |  | 15 | May accommodate parents and newborns.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent / Infant Room |  |  | 15 | May accommodate parents and newborns.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent / Infant Room |  |  | 15 | May accommodate parents and newborns.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent / Infant Room |  |  | 15 | May accommodate parents and newborns.
B.0390.01.138 | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent Resource Area |  | 1 | 9 | Quiet room for use of laptop, literature or other resources
B.0390.01.136 | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 | WCPU-3 | Toilet - Public, 3m2 | Yes | 1 | 3 | To be located in ready access to inpatient areas
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 | ENST-ST-C | Ensuite - Standard - Additional Access, 5m2 | Yes | 3 | 5 | Shared between 2 rooms. Provision of an accessible ensuite will be needed.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 | ENST-ST-C | Ensuite - Standard - Additional Access, 5m2 | Yes |  | 5 | Shared between 2 rooms. Provision of an accessible ensuite will be needed.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 | ENST-ST-C | Ensuite - Standard - Additional Access, 5m2 | Yes |  | 5 | Shared between 2 rooms. Provision of an accessible ensuite will be needed.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Laundry - Domestic |  | 1 | 6 | Optional. Baby and parent clothing. Incorporate linen cupboard for small items.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | PROP-2 | Property Bay - Staff | Yes | 1 | 8 | Approximately 50 half height lockers
[5 empty] | Discounted Circulation |  |  | 25%

## Offices_Amentities
STAFF OFFICES AND AMENITIES
Room Function #: | HPU or SubParts (Name) | Functional Grouping | Department | AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
B.0390.01.016 | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 |  | Bay - Lockers |  | 1 | 1 | Optional; for visitors' use
B.0390.01.004 | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | CONS | Consult Room | Yes | 1 | 12 | No. to be determined. Size based on Paediatric use. Will require heat table and scales.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | INTF | Interview Room | Yes | 2 | 12
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | INTF | Interview Room | Yes |  | 12
B.0390.01.011 | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | RECL-12 | Reception / Clerical, 12m2 | Yes | 1 | 12 | For 1 - 2 staff. Visitors will have access to hand hygiene at entry, in Family Support Areas and at each bed space
B.0390.01.012 | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | STPS-8 | Store - Photocopy / Stationery, 8m2 | Yes | 1 | 8 | Optional. May not be duplicated if provided in Staff Area
B.0390.01.014 | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | WCAC | Toilet - Accessible, 6m2 | Yes | 1 | 6
B.0390.01.013 | Intensive Care - Neonatal Special Care Nursery | 83.00 Entry/ Reception/ Hub | Level 2/3 | WAIT-20 | Waiting, 20m2 | Yes | 1 | 20 | Designed to enable separation of family groups. May include phones and vending
B.0390.01.017 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | ANRM | Anteroom | Yes | 2 | 6 | As required for Class N Isolation Rooms
B.0390.01.018 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | ANRM | Anteroom | Yes |  | 6 | As required for Class N Isolation Rooms
B.0390.01.019 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BAEX-12 | Bathing / Examination Area |  | 1 | 15
B.0390.01.021 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes | 15 | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.022 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.023 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.024 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.025 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.026 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.027 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.028 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.029 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.030 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.031 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.032 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.033 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.034 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.035 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | BHWS-PPE | Bay - Handwashing / PPE | Yes |  | 1.5 | Type A basins. Assigned at a rate of 1:2 in ICU and 1:4 in HDU / SC beds.
B.0390.01.089 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes | 16 | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.090 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.091 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.092 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.093 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.094 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.095 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.096 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.097 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.098 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.099 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.100 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.101 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.102 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.103 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.104 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBSC | Neonatal Bay - Special Care | Yes |  | 16 | Area excludes basins. Sizes as per ICU to accommodate CPAP etc. High dependency care.
B.0390.01.055 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes | 14 | 10 | Excludes basins & circulation
B.0390.01.056 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.057 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.058 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.059 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.060 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.061 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.062 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.063 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.064 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.065 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.066 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.067 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.068 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBGC | Neonatal Bay - General Care | Yes |  | 10 | Excludes basins & circulation
B.0390.01.073 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes | 16 | 16 | Area excludes basins.
B.0390.01.074 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.075 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.076 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.077 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.078 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.079 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.080 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.081 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.082 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.083 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.084 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.085 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.086 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.087 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.088 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | NBICU | Neonatal Bay - Intensive Care | Yes |  | 16 | Area excludes basins.
B.0390.01.107 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Negative Pressure |  | 2 | 17 | Includes basin.
B.0390.01.108 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Negative Pressure |  |  | 17 | Includes basin.
B.0390.01.109 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Standard |  | 6 | 17 | Includes basin.
B.0390.01.110 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Standard |  |  | 17 | Includes basin.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Standard |  |  | 17 | Includes basin.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Standard |  |  | 17 | Includes basin.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Standard |  |  | 17 | Includes basin.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Neonatal Bay - Intensive Care, Isolation, Standard |  |  | 17 | Includes basin.
B.0390.01.111 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 |  | Isolation Room Lobby |  |  | 8 | Outside the isolation rooms for linen, small staff base, supplies, etc
B.0390.01.112 | Intensive Care - Neonatal Special Care Nursery | 84.00 Patient Areas | Level 2/3 | PROC-20 | Procedure Room | Yes | 1 | 20
B.0390.01.130 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BPATH | Bay - Pathology | Yes | 1 | 4 | Bench 1200 x 800; analysers, ice machine, handbasin and pneumatic tube station.
B.0390.01.120 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | CLUR-14 | Clean Utility, 14m2 | Yes | 1 | 14 | Includes medications
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | DTUR-10 | Dirty Utility, 10m2 | Yes | 1 | 10 | Includes medications
B.0390.01.119 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | CLRM-5 | Cleaner's Room, 5m2 | Yes | 1 | 5
B.0390.01.121 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 |  | Disposal Room, 10m2 |  | 1 | 10
B.0390.01.122 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | ECL-14 | Equipment Clean-Up | Yes | 1 | 14 | For cleaning beds, incubators, dismantling & cleaning respiratory equipment.
B.0390.01.117 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 |  | Linen Cupboard | Yes | 1 | 1 | Optional. For small items that are not processed by the Linen Service - baby clothes etc
B.0390.01.124 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 |  | Milk Storage Room |  | 1 | 12 | With refrigerators and freezers. Staff only area
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 |  | Formula Room |  | 1 | 9 | Used for formula preparation and storage. Also used by mothers to sterilize expressing equipment.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes | 4 | 4 | General storage eg. Trolleys
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes |  | 4 | General storage eg. Trolleys
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes |  | 4 | General storage eg. Trolleys
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BMEQ-4 | Bay - Mobile Equipment, 4m2 | Yes |  | 4 | General storage eg. Trolleys
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BMEQ-6 | Bay - Mobile Equipment, 6m2 | Yes | 1 | 6 | X-Ray / Ultrasound
B.0390.01.123 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | OFF-CLW | Office - Clinical Workroom | Yes | 1 | 15
B.0390.01.125 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | SSTN-20 | Staff Station, 20m2 | Yes | 1 | 20 | Number dependent on layout.
B.0390.01.126 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | STSS-24 | Store - Sterile Stock | Yes | 1 | 25 | Based on 0.5m2 per cot. Assumes compactus
B.0390.01.131 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | STEQ-20 | Store - Equipment | Yes | 1 | 100 | Based on 2m2 per bed. Include space for biomedical assessment & repair
B.0390.01.127 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | STGN-9 | Store - General, 9m2 | Yes | 1 | 9
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 |  | Store - Intra-Hospital Transport Equipment |  | 1 | 8
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | BMEQ-6 | Bay - Mobile Equipment, 6m2 | Yes | 1 | 6 | Intra-hospital equipment
B.0390.01.128 | Intensive Care - Neonatal Special Care Nursery | 85.00 Clinical Support Areas | Level 2/3 | STGN-8 | Store - Retrieval Equipment | Yes | 1 | 0 | Space requirements will depend on the role of the retrieval service. Refer 390.06.25.
B.0390.01.134 | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 | PLAP-10 | Play Area - Paediatric, 10m2 | Yes | 1 | 10 | For siblings.
B.0390.01.132 | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Feeding / Expressing Room |  | 1 | 12 | For expressing milk & breast feeding; 3-4 mothers
B.0390.01.133 | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 | LAUN-PT | Laundry - Domestic | Yes | 1 | 6 | Baby and parent clothing. Incorporate linen cupboard for small items
B.0390.01.137 | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent / Infant Room |  | 6 | 15 | May accommodate parents and newborns.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent / Infant Room |  |  | 15 | May accommodate parents and newborns.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent / Infant Room |  |  | 15 | May accommodate parents and newborns.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent / Infant Room |  |  | 15 | May accommodate parents and newborns.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent / Infant Room |  |  | 15 | May accommodate parents and newborns.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent / Infant Room |  |  | 15 | May accommodate parents and newborns.
B.0390.01.138 | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Parent Resource Area |  | 1 | 9 | Quiet room for use of laptop, literature or other resources
B.0390.01.136 | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 | WCPU-3 | Toilet - Public | Yes | 1 | 3 | To be located in ready access to inpatient areas
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 | ENST-ST-C | Ensuite - Standard - Additional Access, 5m2 | Yes | 3 | 5 | Shared between 2 rooms. Provision of an accessible ensuite will be needed.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 | ENST-ST-C | Ensuite - Standard - Additional Access, 5m2 | Yes |  | 5 | Shared between 2 rooms. Provision of an accessible ensuite will be needed.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 | ENST-ST-C | Ensuite - Standard - Additional Access, 5m2 | Yes |  | 5 | Shared between 2 rooms. Provision of an accessible ensuite will be needed.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 86.00 Family Support Areas | Level 2/3 |  | Laundry - Domestic |  | 1 | 6 | Optional. Baby and parent clothing. Incorporate linen cupboard for small items.
B.0390.01.142 | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | OFF-S12 | Office - Single Person, 12m2 | Yes | 1 | 12 | Clinical Director
B.0390.01.144 | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9 | Staff Specialist (full time), NUM
B.0390.01.141 | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | OFF-2P | Office - 2 Person Shared, 12m2 | Yes | 1 | 12 | Social Workers
B.0390.01.145 | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 |  | Office - Workstation, 5.5m2 |  | 1 | 5.5 | eg. Administration, CNC and research staff
B.0390.01.146 | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 |  | Office - Workstation, 4.4m2 |  | 1 | 4.4 | eg. Allied health, CNE, registrars, research staff. Data entry etc.
B.0390.01.147 | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | OVBR | Overnight Stay - Bedroom | Yes | 1 | 10 | Optional and dependent on rostering practices.
B.0390.01.140 | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | MEET-L-30 | Meeting Room, 30m2 | Yes | 1 | 30 | Up to 20 staff
B.0390.01.150 | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | SHST | Shower - Staff, 3m2 | Yes | 1 | 3
B.0390.01.151 | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | SRM-18 | Staff Room | Yes | 1 | 40
B.0390.01.152 | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | STPS-8 | Store - Photocopy / Stationery, 8m2 |  | 1 | 8
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | STGN-9 | Store - General, 9m2 | Yes | 1 | 9
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | MEET-L-20 | Meeting Room, 20m2 | Yes | 1 | 20 | Low fidelity simulation. Adjacent to Tutorial Room. Operable wall optional. Provide medical gases.
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 |  | Staff Workroom - Telemedicine |  | 1 | 12 | For 3 to 4 staff
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | WCST | Toilet - Staff, 3m2 | Yes | 4 | 3
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | WCST | Toilet - Staff, 3m2 | Yes |  | 3
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | WCST | Toilet - Staff, 3m2 | Yes |  | 3
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | WCST | Toilet - Staff, 3m2 | Yes |  | 3
NEW ROOM | Intensive Care - Neonatal Special Care Nursery | 87.00 Staff Offices & Amenities | Level 2/3 | PROP-2 | Property Bay - Staff | Yes | 1 | 8 | Approximately 50 half height lockers
[5 empty] | Discounted Circulation |  |  | 25%