## HPU 620 Rev 7_Feb 2021
ENTRY, RECEPTION AND WAITING
AusHFG Room Code | Room / Space | SC / SC-D | Satellite Unit |  |  |  | In-Centre Unit |  |  |  | Remarks
|  |  | 10 Chairs |  | 20 Chairs |  | 6 Chairs |  | 12 Chairs
|  |  | Qty | m2 | Qty | m2 | Qty | m2 | Qty | m2
WAIT-10 | Waiting | Yes | 1 | 20 | 1 | 40 | 1 | 10 | 1 | 20 | Area recommendation is indicative and will depend on the no. of people to be accommodated, opportunities to stagger appointment times and options for alternative approaches to waiting eg central hospital facilities/cafe. A high proportion of patients will have mobility aids and carers for support. 1.2m2 recommended per seat, 1.5m2 per wheelchair space. Smaller allocation for in-centre units given smaller number of outpatients. Refer to optional reception area below.
MEET-12 | Meeting Room | Yes | 1 | 18 | 1 | 30 | 1 | 12 | 1 | 20 | For family meetings, staff meetings, multidisciplinary meetings, community training and other functions. Videonferencing required.
BHW | Bay - Weight | Yes | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 2 | Ensure design supports access from mobility aids eg scooters. Includes wheelchair scales.
BMEQ-4 | Bay - Mobile Equipment | Yes | 1 | 3 | 1 | 4 | 1 | 2 | 1 | 3 | For storage of mobility aids and wheelchairs
WCPU-3 | Toilet - Public | Yes | 2 | 3 | 3 | 3 | 1 | 3 | 2 | 3 | Directly access from the waiting room. Door location should not permit a view into the toilet
| Discounted Circulation |  | 32% |  | 32% |  | 32% |  | 32%
TREATMENT AREAS
AusHFG Room Code | Room / Space | SC / SC-D | Satellite Unit |  |  |  | In-Centre Unit |  |  |  | Remarks
|  |  | 10 Chairs |  | 20 Chairs |  | 6 Chairs |  | 12 Chairs
|  |  | Qty | m2 | Qty | m2 | Qty | m2 | Qty | m2
SSTN-10 | Staff Station | Yes | 1 | 10 | 2 | 10 | 1 | 10 | 1 | 14 | Area to be adjusted depending on staff profile. Higher ratio of staff to patients on in-centre units. Space may need to be subdivided in larger units. Include electronic journey board (not visible to public). | Project team - staffing profile. Staffing station.
BPTS | Bay - Pneumatic Tube | Yes | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
TRMT-RD | Treatment Bay - Renal Dialysis | Yes | 9 | 9 | 18 | 9 | 5 | 9 | 10 | 9 | Mix of recliners vs bed bays within these units to be determined based on the patient profile. Bays may be arranged in pods for appropriate cohorting of patients. Refer to optional acute bed bay for in-centre units below.
1BR-H-12 | 1 Bed Room | Yes | 1 | 12 | 2 | 12 | 1 | 12 | 2 | 12 | Number of isolation rooms to be determined based on local infection control requirements. Refer to optional ensuite below.
BHWS-B | Bay - Handwashing, Type B | Yes | 3 | 1 | 6 | 1 | 2 | 1 | 4 | 1 | One handwashing basin per three open bays or part thereof.
| Bay - PPE | Yes | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | 1 | 0.5 | A Personal Protective Equipment Bay (one shared between two rooms) outside the isolation room.
WCAC | Toilet - Accessible | Yes |  |  | 1 | 6 |  |  | 1 | 6 | For use by patients in open treatment bays
ENS-ACC | Ensuite - Accessible | Yes | 1 | 7 | 1 | 7 | 1 | 7 | 1 | 7 | For use by patients in open treatment bays. Shower required for ad hoc instances.
| Discounted Circulation |  | 38% |  | 38% |  | 38% |  | 38%
SUPPORT AREAS
AusHFG Room Code | Room / Space | SC / SC-D | Satellite Unit |  |  |  | In-Centre Unit |  |  |  | Remarks
|  |  | 10 Chairs |  | 20 Chairs |  | 6 Chairs |  | 12 Chairs
|  |  | Qty | m2 | Qty | m2 | Qty | m2 | Qty | m2
CLUR-12 | Clean Store / Medication Room | Yes | 1 | 12 | 1 | 14 | 1 | 12 | 1 | 14 | Larger allocation per chair for in-centre units due to higher volume of medicatons.
BLIN | Bay - Linen | Yes | 1 | 2 | 2 | 2 | 1 | 2 | 1 | 2 | Cupboard or trolley bay to hold clean laundry
BRES | Bay - Resus | Yes | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | 1 | 1.5 | Adjacent to staff station
BMEQ-4 | Bay - Mobile Equipment | Yes | 2 | 2 | 2 | 4 | 2 | 2 | 2 | 4 | Consumable trolleys, IVs, BP machines, ultrasound, WOWs when not in use. Additional area per chair required on in-centre units.
BBEV-OP | Bay - Beverage, Open Plan | Yes | 1 | 4 | 1 | 6 | 1 | 4 | 1 | 5 | To receive and issue light meals and beverages for patients.
DTUR-10 | Dirty Utility | Yes | 1 | 8 | 1 | 10 | 1 | 8 | 1 | 10 | Appropriate disposal unit required for corrosive dialysate concentrate. Refer to HPU Section 2.2.11.
STBK-20 | Store - Bulk | Yes | 1 | 18 | 1 | 34 | 1 | 14 | 1 | 22 | For dialysis fluid storage. Must be placed on the perimeter of the Unit and be accessible by a pallet lifter. Shelving must have 100kg weight capacity and shelves need to be at least 400mm apart or adjustable.
WTPL | Water Treatment Plant Room | Yes | 1 | 18 | 1 | 22 | 1 | 18 | 1 | 18 | Close to treatment areas to reduce piping runs. 18m2 will support a unit of up to 12 chairs. 22m2 will support a unit up to 24 chairs. Final arrangement will depend on type / manufacturer of RO equipment procured.
| Technician Room / Equipment Clean Up | Yes | 1 | 12 | 1 | 20 | 1 | 8 | 1 | 14 | For the servicing of dialysis machines. All machines require connection to power and plumbing. Ultrasound probes are also routinely reprocessed in this room.
| Equipment Store |  | 1 | 10 | 1 | 18 | 1 | 6 | 1 | 12 | This is usually combined with the Technician Room above. For storage of spare machines, portable RO units and other equipment. Area requirement will depend on need to store home dialysis equipment. All machines require connection to power and plumbing. Training machines may be stored with training areas if dedicated service provided.
DISP-8 | Disposal Room | Yes | 1 | 3 | 1 | 5 | 1 | 3 | 1 | 5 | Bay for waste.
CLRM-5 | Cleaner's Room | Yes | 1 | 5 | 1 | 5 | 1 | 5 | 1 | 5
| Discounted Circulation |  | 25% |  | 25% |  | 25% |  | 25%
STAFF AREAS
AusHFG Room Code | Room / Space | SC / SC-D | Satellite Unit |  |  |  | In-Centre Unit |  |  |  | Remarks
|  |  | 10 Chairs |  | 20 Chairs |  | 6 Chairs |  | 12 Chairs
|  |  | Qty | m2 | Qty | m2 | Qty | m2 | Qty | m2
OFF-S9 | Office - Single Person | Yes |  | 9 |  | 9 |  | 9 |  | 9 | Number and area allocation will depend on staff profile and local jurisdictional policies.
| Office – Workstation |  |  | 4.4 |  | 4.4 |  | 4.4 |  | 4.4 | Number and area allocation will depend on staff profile and local jurisdictional policies.
SRM-15 | Staff Room | Yes | 1 | 10 | 1 | 14 | 1 | 10 | 1 | 14 | Discreet section of the Unit. Size will be dependent on staff profile. Larger staff ratio per chair for in-centre services. Direct access required as staff are unable to leave the unit.
WCST | Toilet - Staff | Yes | 1 | 3 | 2 | 3 | 1 | 3 | 2 | 3 | Discreet location. Access to a shower may also be requried. Access to accessible toilet also required.
PROP-2 | Property Bay - Staff | Yes | 1 | 0.5 | 1 | 1 | 1 | 0.5 | 1 | 1 | Discreet and secure location. Adjacent to Staff Room.
| Discounted Circulation |  | 25% |  | 25% |  | 25% |  | 25%
OPTIONAL AREAS
AusHFG Room Code | Room / Space | SC / SC-D | Satellite Unit |  |  |  | In-Centre Unit |  |  |  | Remarks
|  |  | 10 Chairs |  | 20 Chairs |  | 6 Chairs |  | 12 Chairs
Entry, Reception & Waiting
RECL-10 | Reception / Clerical | Yes | 1 | 8 (o) | 1 | 10 (o) | 1 | 6 (o) | 1 | 8 (o) | Optional. Inclusion will be dependent on size of unit and resourcing. Design to ensure staff safety.
STPS-8 | Store - Photocopy / Stationery | Yes | 1 | 4 (o) | 1 | 6 (o) | 1 | 3 (o) | 1 | 4 (o) | Adjacent to the reception/clerical area to hold printers, stationery etc.
CONS | Consult Room | Yes | 1 | 12 (o) | 1 | 12 (o) | 1 | 12 (o) | 1 | 12 (o) | Optional. May be provided through collocated outpatient clinics.
INTF | Interview Room | Yes | 1 | 12 (o) | 1 | 12 (o) | 1 | 12 (o) | 1 | 12 (o) | Optional, depending on service need and potential to share with adjacent services.
TRMT | Treatment / Training Room |  | 1 | 14 (o) | 1 | 14 (o) | 1 | 14 (o) | 1 | 14 (o) | Optional, dependent on access to adjacent treatment / procedure room in outpatient or inpatient services and provision of training. Where there is a developed program of training as approved in the Clinical Services Plan dedicated training space/s will be required. Locate to enable flexible use for treatment during peaks in demand.
| Office – Workstation |  |  | 4.4 (o) |  | 4.4 (o) |  | 4.4 (o) |  | 4.4 (o) | Optional. Requirement will depend on staffing profile and provision of training services. Refer to local jurisdictional policies regarding staff work area allocations. Staff offices / workstations also included under staff areas below.
WCAC | Toilet - Accessible | Yes | 1 | 6 (o) | 2 | 6 (o) | 1 | 6 (o) | 1 | 6 (o) | Optional, may be located with adjacent service. Directly access from the waiting room. Door location should not permit a view into the toilet.
Treatment Areas
| Treatment Bay - Renal Dialysis, Acute Bed Bay | Yes | [5 empty] | 12 (o) |  | 12 (o) | Optional. Larger sized bay for high acuity patients within in-centre units. Mix of recliners vs bed bays within these units to be determined based on the patient profile.
ENS-ST | Ensuite - Standard | Yes | 1 | 5 (o) | 2 | 5 (o) | 1 | 5 (o) | 2 | 5 (o) | Optional. Associated with isolation rooms, however these are rarely used for patients on haemodialysis and can be an infection control risk if used sparingly. Requirements will depend on local operational and infection control advice.
Support Areas
BS-4 | Bay - Storage |  | 1 | 1 (o) | 1 | 2 (o) | 1 | 1 (o) | 1 | 1 (o) | Optional, only required if significant travel distance to bulk store.